## Sheet1
Item | Description | Location | Manufacturer | PartNumber | Qty in Full | Qty needed | Qty on hand
1 | Nema 12 Enclosure | etc | Klassenss | Custom | TRUE | 1 | 1
2 | Backplate | enclosure | Klassen | Custom | TRUE | 1 | 1
3 | Breaker - 25A main disconnect | backplate | ABB | OT25F3 | TRUE | 1 | 1
4 | KBPC DRIVE | backplate | Penta | KBRC-24OD | TRUE | 1 | 1
5 | Breaker - 1A | backplate | Schnieder | M9F42101 | FALSE | 4 | 0
6 | Breaker - 2A | backplate | Schnieder | M9F42102 | FALSE | 1 | 0
7 | Breaker - 15A | backplate | Schnieder | M9F42115 | FALSE | 1 | 0
8 | Breaker - 4A | backplate | Schnieder | M9F42104 | FALSE | 1 | 0
9 | Wireduct 1X3 | backplate | Panduit | F1x3Lg6 | TRUE | 1 | 1
10 | Wireduct 1.5X3 | backplate | Panduit | F1.5x3Lg | TRUE | 1 | 1
11 | Wireduct 2X3 | backplate | Panduit | F2x3Lg | TRUE | 1 | 1
12 | Micro830 PLC controller | backplate | Allen Bradley | 2080-LC50E-48QWB | TRUE | 1 | 1
13 | Pushbutton Green | enclosure | Allen Bradley | 800FB-LF3 | TRUE | 1 | 1
14 | Pushbutton LED white | enclosure | Allen Bradley | 800FP-N3W | TRUE | 1 | 1
15 | Pushbutton contact blocks NO | enclosure | Allen Bradley | 800F-X10 | TRUE | 1 | 1
16 | Pushbutton contact blocks NC | enclosure | Allen Bradley | 800F-X01 | TRUE | 3 | 3
17 | Keyed Selector Switch | enclosure | Allen Bradley | 800FP-KM22 | TRUE | 1 | 1
18 | Pushbutton ESTOP | enclosure | Allen Bradley | 800FP-MT64 | TRUE | 1 | 1
19 | Pushbutton latch | enclosure | Allen Bradley | 800FP-ALP | TRUE | 3 | 3
20 | Terminal | backplate | Phoenix | 3044102 | TRUE | 5 | 5
21 | Terminal | backplate | Phoenix | 3044636 | TRUE | 39 | 39
22 | Terminal endplate | backplate | Phoenix | 3047293 | TRUE | 2 | 2
23 | Terminal endplate | backplate | Phoenix | 3047028 | TRUE | 1 | 1
24 | Terminal endstop | backplate | Phoenix | 3022276 | TRUE | 16 | 16
25 | Jumper 2 pole red | backplate | Phoenix | 3030161 | TRUE | 2 | 2
26 | Jumper 10 pole | backplate | Phoenix | 3030213 | TRUE | 2 | 2
27 | Jumper 2 pole blue | backplate | Phoenix | 3036877 | TRUE | 2 | 2
28 | Power Supply 24VDC 5A | backplate | Phoenix | 2866310 | TRUE | 1 | 1
29 | Contactor 24VDC | backplate | Allen Bradley | 100-C16EJ01 | FALSE | 2 | 0
30 | Disconnect handle | enclosure | Allen Bradley | OHB45J6 | TRUE | 1 | 1
31 | Disconnect shaft | backplate | Allen Bradley | OXP6X290 | TRUE | 1 | 1
32 | Din rail | backplate | Phoenix | 801733 | TRUE | 1 | 1
33 | Pilot Light Green | enclosure | Phoenix | 800FP-P3 | TRUE | 1 | 1
34 | RJ45 Bulkhead coupler | enclosure | Graceport | N206-BC01-1ND | TRUE | 1 | 1
35 | Safety relay | backplate | Allen Bradley | 44OR-N23114 | TRUE | 1 | 1
36 | Control relay | backplate | Allen Bradley | 700-HA33Z24-3-4 | FALSE | 2 | 2
37 | Control relay base | backplate | Allen Bradley | 700-HN101 | TRUE | 2 | 2
38 | Digital Counter | enclosure | Baumer | IsI30.013AA01 | TRUE | 1 | 1
39 | Control relay SPDT | backplate | Allen Bradley | 700-HLT1Z24 | TRUE | 1 | 1
40 | Ethernet Switch | backplate | Phoenix | 1085039 | TRUE | 1 | 1
41 | Diffuse Sensor | backplate | Baumer | OT500.GL-PLPLB.72F | FALSE | 1 | 0
42 | Auxiliary contact 1 NO 1 NC | enclosure | Allen Bradley | 100-FA11 | TRUE | 2 | 2
43 | Bushings for drive | backplate | unknown | unknown | TRUE | 2 | 2
44 | 14 guage 3C | cables | unknown | 3C-14 | TRUE | 30 | 30
45 | 4pin M12 10M 90 | cables | Phoenix | 1681389 | TRUE | 1 | 1
46 | 4pin M12 5M 90 | cables | Phoenix | 1668247 | TRUE | 4 | 4
47 | 5pin M12 5M STR | cables | Phoenix | 1669848 | TRUE | 1 | 1
48 | 4pin M12 5M STR | cables | Phoenix | 1668124 | TRUE | 5 | 5
49 | 3pin M8 5M STR | cables | Phoenix | 1669628 | FALSE | 1 | 0
50 | 3pin Valve cable PO Check Valve | cables | MURR | 7000-11081-6160500 | FALSE | 1 | 0
51 | 3pin Valve cable | cables | Phoenix | 1415943 | FALSE | 1 | 0
52 | 9pin Valvebank cable Female | cables | Allen Bradley | 889N-F9AF-2 | TRUE | 1 | 1
53 | 4pin M12 10M STR | cables | Phoenix | 1683002 | TRUE | 1 | 1
54 | 12pin Micro 10M STR | cables | MENCOM | MDCM-12MFP-10-B | TRUE | 1 | 1
55 | RJ45 10M STR Female | cables | MURR | 7000-44711-7961000 | TRUE | 1 | 1
56 | 8pin M12 10M STR | cables | Phoenix | 1520372 | FALSE | 1 | 0
57 | Ethernet cable 3ft | backplate | Startek | unknown | FALSE | 1 | 0
58 | Ethernet cable 2ft | backplate | Startek | unknown | FALSE | 1 | 0
59 | Ethernet cable 2ft | op stn | Startek | unknown | TRUE | 1 | 1
60 | Junction box | op stn | Hammond | SE2302439 | TRUE | 1 | 1
61 | Pushbutton Green | op stn | Allen Bradley | 800FB-LF3 | TRUE | 1 | 1
62 | Pushbutton ESTOP | op stn | Allen Bradley | 800FP-MT44 | TRUE | 1 | 1
63 | Pushbutton Green | op stn | Allen Bradley | 800FP-LF6 | TRUE | 1 | 1
64 | M12 4pole bulkhead | op stn | MURR | 7000-13502-9710100 | TRUE | 1 | 1
65 | M12 RJ45 ENET bulkhead | op stn | MURR | 7000-44681-0000000 | TRUE | 1 | 1
66 | M12 12pole Male | op stn | MENCOM | MDC-12MR-2-2M | TRUE | 1 | 1
67 | HMI 7inch | op stn | Maple | HMI150708BV3 | TRUE | 1 | 1
68 | Pushbutton latch | op stn | Allen Bradley | 800FP-ALP | TRUE | 3 | 3
69 | Pushbutton LED green | op stn | Allen Bradley | 800FP-N3G | TRUE | 1 | 1
70 | Pushbutton LED white | op stn | Allen Bradley | 800FP-N3W | TRUE | 1 | 1
71 | Pushbutton contact blocks NO | op stn | Allen Bradley | 800F-X10 | TRUE | 2 | 2
72 | Pushbutton contact blocks NC | op stn | Allen Bradley | 800F-X01 | TRUE | 2 | 2
73 | Lamacoid ESTOP small | op stn | ACP | estopsmall | TRUE | 1 | 1
74 | Lamacoid Reset | op stn | ACP | reset | TRUE | 1 | 1
75 | Lamacoid Clamps | op stn | ACP | clamps | TRUE | 1 | 1
76 | Lamacoid Status | enclosure | ACP | status | TRUE | 1 | 1
77 | Lamacoid Hand Auto | enclosure | ACP | handauto | TRUE | 1 | 1
78 | Lamacoid ESTOP large | enclosure | ACP | estoplarge | TRUE | 1 | 1
79 | Brady Labels backplate | etc | ACP | bradylabels | TRUE | 1 | 1
80 | Wire labels backplate | etc | ACP | WL-backplate | FALSE | 1 | 1
81 | Wire labels door | etc | ACP | WL-door | TRUE | 1 | 1
82 | Wire labels OP Station | etc | ACP | WL-OP | FALSE | 1 | 1
83 | Wire labels cables | etc | ACP | WL--cables | TRUE | 1 | 1